CHE 301 current unsolved spring 2019
MCQs
1-The colors in the spectrum corresponds to that

- Absorbance

- Wavelength

- Energy

- Wave number

2-The chance of spectral interference --------------when multi element lamps are used in atomic spectroscopy

- Increases

- Decreases

- Remains constant

- Zero

3-Structure of different atoms can be verified based on …………..

- Chemical testing

- NMR

- Mass fragments

- All of these

4-Which is not application of  UV spectroscopy

- Analytical applications

- Kinetic applications

- Non ionization constant

- Stereo chemical study

5-Absorption spectrum of different atoms; these absorption or emission spectrums are---------------atoms.

- Different for same

- Same for same

- Different for different

- Same for different

6- inHydrogen spectral lines: Before Bohr different scientists have proved experimentally that hydrogen gas absorb or emit energy of different ranges:

- UV range (Lymen series), Visible range (Balmer series), IR region (Paschen series).

7-The atomic spectroscopic method of standard addition will not compensate for background absorption or other types of spectral interference,andnormaly will not compensate for ------------types of interference.

- Chemical

- Ionization

- Both a & b

8-Light source is --------------to detector in atomic spectroscopy.

- Perpendicular

- Parallel

- Straight

- Anti-parallel

9-The light emission process must wait until electron undergoes a spin-flip to revert back.

- 10^-3---10^2S

- 10^-5---10^2S

- 10^-7----10^2S

- None

10-In infrared spectroscopy visible region extended from

- 300 violet to 760nm

- 350 violet to 760nm

- 250 violet to 700nm

- 250 violet to 760nm

11-How many features of IR spectroscopy

- 4

- 7

- 3

- 2

12-Nernest filament is composed of oxides of zirconium ,yttrium and-----------

- Pelenium

- Sodium

- Thorium

- All

13-Acids can be recovered from  ,their salts treating with.

- Hcl

- NaoH

- Kcl

- KoH

14-UV spectrophotometer normally covers the range of

- 150-1000nm

- 190-1000nm

- 150-1100nm

- 190-1100nm

15-What is the έ in beer- lambert law?

16-Cuse and affect diagram is also known as?

17-What is the significant figure of 0.007823?

Short questions?

18-Affinity chromatography?

19-What type of organic compounds can change their solubility?

20-Explain working of ICP in atomic spectrophotometry?

21-Difference between cation exchange resin and anion exchange resins?

22-Difference between sublimation and filtration?

23-describe radiation source of IR spectroscopy?

24-What are non-polar sorbents?

25-Write applications of non-polar interactions of solid phase extraction?

26-Write down equation which show relationship between energy and wavelength?

27-Which type of light emission takes place in tungsten and deuterium lamp?

28-Function of styrene benzene in chromatography?

Long questions:

29-Givethree applications of IR spectroscopy?

30-Detailed applications of IR spectroscopy?

31-Chrachteristics of absorption bands?