Virtual University of Pakistan

CHE301

Analytical Chemistry &

Instrumentation

Created By TEAM VU BIO MATES

www.facebook.com/groups/vubiomates

- What is chemical shift?

- What is interface?

- Protocol of dialysis?

- Principle of UV-VIS?

- Principle of dialysis?

- Difference between flame atomizer and graphite tube atomizer?

- Write names of commonly used impedance measuring system in flow cytometry?

- Explain NMR Instrumentations?

- Mention the parameters measured by the flow cytometry?

- Define vu-vis light filteralso give two names?

- Define ICM and AES stands for?

- Detail on blood fractionation?

- Explain flow spectrometre application?

- What instruments are use for flow spectrometry?

- Explain NMR applications

- What do you know about instrument of NMR?

- Explain Gel filtration chromatography?

- Various uv radiation sources in uv vi spectrum explain ?

- Application of x.ray diffraction technonogy

- Application ICP mass spectromter ?

- Two example of auxochrome group?

- Define Braggs law

- Define dialysis

- Give four name of the flow cytometer?

MCQS

- __________ that determines the spatial arrangements of atoms or identifies the functional groups. (Analytical chemistry)

- ________a solvent that flows through the supporting medium. (Mobile phase )

- A chromatographic method is called _______ if the stationary phase is solid. (adsorption chromatography)

- In radial chromatography, the solvent rises through the wick and the components are separated __________(into concentric circles)

- In gel filtration chromatography, Molecules are eluted in order of _______( decreasing molecular size)

- _____________ measures the mass-to-charge ratio of ions to identify and quantify molecules in simple and complex mixtures.(Mass spectrometry (MS)

- First usage of mass spectrometry was to _________(detect the isotopes.)

- _________ is the study of the interaction between matter and electromagnetic radiation. (Spectroscopy)

- In GC-MS Samples are usually analyzed as ________(organic solutions).

- Gel filtration can be used to separate proteins by ________at any point in a purification of a protein.(molecular weight )

- _______ is reference compound in NMR. (Recorder)

- UV-VIS spectrum results from the interaction of electromagnetic radiation in the UV-VIS region with molecules, _______      (ions or complexes.)

- NAD+ compound absorbs light in the _______ due to the presence of conjugated pi-bonding systems.(UV range)

- An atom or molecule that fluoresces is termed a _________   (Fluorophore)

- The light selected by the monochromator is directed onto a detector that is typically a photomultiplier tube , whose function is to convert the light signal into an electrical signal proportional to the light intensity is called _______   (detector)

- When the molecule jumps from the higher energy level to lower energy level, a photon of energy is_______  ( emitted.)

- In AAS, the _______ produces a print on the chart. (recorder)

- ICP-MS is an analytical technique used for ________determinations.(elemental )

- In ICP-MS, Electrostatic ______ that focus (positive) ions onto the entry to the true mass-spectrometer. (lenses)

- ________that use a diffraction grating monochromators to isolate the incident light and fluorescent light. (Spectrofluorometers )