Final term solved past papers of che301

- Types of precipitates (on basis of particle size)

1-Colloidal suspensions

• Particles are invisible to the naked eye (10-7 - 10-4 cm in diameter).

• Colloidal particles show no tendency to settle from solution

• Not easily filtered.

2-Crystalline suspension

• Particles with dimensions on the order of tenths of a millimeter or greater.

• The temporary dispersion of such particles of a tend to settle spontaneously,

• Easily filtered.

- Atomic fluorescence spectroscopy:

Atomic fluorescence spectroscopy is used to evaluate certain organic molecules

- CHIRAL CHROMATOGRAPHY

• Special chemically modified stationary phases, for example cellulose or amylose derivatives, proteins or peptides, cyclodextrins etc., for the separation of enantiomers

• Most separations are based upon partition mechanisms utilizing chemically modified silica as the stationary phase and polar solvents as the mobile phase. The surface of the support, for example the silanol groups of silica, is reacted with various silane reagents to produce covalently bound silyl derivatives covering a varying number of active sites on the surface of the support. The nature of the bonded phase is an important parameter for determining the separation properties of the chromatographic system.

- Parts of uv spectrophotometer:

UV Spectrophotometer

• Light source

• Monochromator

• Sample compartment

• Detector

• Read out device

- Applications of extraction scheme:

- We can separate a complex mixture by designing an extraction scheme.

- For extraction of caffeine from tea leaves.

- For extraction of nicotine from tobacco.

- Singlet and triplet motion in phosphorescene

Phosphorescence

• The light emission process must wait until electron undergoes a spin-flip to revert back to it original state

• May take 10-3 – 102 s

• Light emission is delayed long enough so that materials “glow in the dark” after exposure to light

• Because of the lower energy of triplet state, lower energy photon emission than incident or fluorescence photons

• Because of the long lifetimes, molecular triplet states are more often involved in photo-chemical and photobiological reactions than singlet states in molecules.

- Relation of absorbance with concentration of sample

All the spectroscopic techniques use certain kind of electromagnetic radiations and are based on Beer Lambert law. These are basically two laws; one connected to absorbance with Transmittance; the lambert law and second discuss relation of absorbance with concentration of sample; that is Beer’s law.

- Non polar interaction in solid phase extraction:

Non-POLAR INTERACTIONS

• Also called hydrophobic or reverse phase

• Involves van der Waals / dispersion forces

• Sorbents - C2, C3, C4, iC4, tC4, C5, C6, C7, C8, C10, C12, C18, C20, C30 phenyl and cyclohexyl

• Applications - drugs of abuse, pesticides

• Analytes - protonated / neutral state, aromatics & alkyl chains

• Matrix - biologicals, water, aqueous buffers

• Elution solvents - typically non-polar to moderately polar

- Spectroscopy:

Spectroscopy

Study of light is called Spectroscopy

• UV Spectroscopy

• IR Spectroscopy

• NMR Spectroscopy

• Mass Spectrometroscopy

- Auxochrome:

• Functional group that does not absorb in the UV/Vis region

• It has the effect of shifting chromophore peaks to longer wavelength as well as increasing their intensities

• For example -OH, - OR, -NHR, -SH, -Cl, -Br, -I

- Atomic absorption spectroscopy:

Atomic absorption spectroscopy

• Light source (HCL)

• Nebulizer

• Atomizers

• Monocromators

• Readout device

• Printer

Atomic Absorption spectroscopy

• Flame Atomic Absorption Spectroscopy (FAAS)

• Graphite Furnace Atomic Absorption Spectroscopy (GFAAS)

- Examples of Scatter diagram

• Relationship between thermal treatment temperature of a steel material and its tensile strengths

• Relationship between visit made by a salesman and volume of sales

• Relationship between the number of persons visiting a department store and volume of sales

• Relationship between absorbance and concentration of a coloured sample (UV spectroscopy); calibration curve

• Relationship of volume to pressure or temperature

13. Precipitation mechanism

1. Induction period.

2. Nucleation.

3. Particle growth to form larger crystal

4. Adsorption

5. Electrostatic

Note

• In nucleation, large number of small particles produced,

• If growth predominated, a smaller number of larger particles is produced

- Non-Polar Sorbent:

• It is also called reverse phased.

• Where polar silica’s ends are replaced with non-polar carbon chain.

• Same as in HPLC.

- Affinity Chromatography

• This is the most selective type of chromatography employed. It utilizes the specific interaction between one kind of solute molecule and a second molecule that is immobilized on a stationary phase. For example, the immobilized molecule may be an antibody to some specific protein. When solute containing a mixture of proteins is passed by this molecule, only the specific protein is reacted to this antibody, binding it to the stationary phase. This protein is later extracted by changing the ionic strength or pH

- Which type of light used in tungsten bulb and deutrium lamp?

In tungsten bulb Visible light is used.

In deuterium lamb uv light is used.

- Median:

The middle of the reading in odd number of data is called median. If you have even number of data points then add the two mid readings and divide by two. Means that you can take mean of the two middle reading.

- UV spectroscopy’s principle and applications:

## Principle of UV spectroscopy

UV spectroscopy obeys the Beer-Lambert law, which states that: when a beam of monochromatic light is passed through a solution of an absorbing substance, the rate of decrease of intensity of radiation with thickness of the absorbing solution is proportional to the incident radiation as well as the concentration of the solution.
The expression of Beer-Lambert law is-
A = log (I0/I) = Ecl
Where, A = absorbance
I0 = intensity of light incident upon sample cell
I = intensity of light leaving sample cell
C = molar concentration of solute
L = length of sample cell (cm.)
E = molar absorptivity

From the Beer-Lambert law it is clear that greater the number of molecules capable of absorbing light of a given wavelength, the greater the extent of light absorption. This is the basic principle of UV spectroscopy.

Applications:

1. Structure Determination

2. Analytical applications

3. Kinetic measurements

4. Ionization constants

5. Stereochemical study

Structure Determination

• Nature of Conjugation – As discussed in Woodword-Fieser Rules

• Confirm availability of chromophores – Spectrum plot before and after reaction may lead to this conclusion

• Structure Verification – Structure suggested based on chemical testing / NMR / mass fragments may be verified

Analytical Applications

• Food – color and consistency – In quality control testing of foods

• Beverage – impurity and decomposition – Stability of product with aging or help in determining expiry dates of products • Leaf analysis – chlorophyll and photosynthesis process – may evaluate ripening of fruits etc.

• Pharmaceutical manufacturer – metabolic pathways of drugs, nucleic acid analysis, kinetics and dissolution testing – Drug availability testing using dissolution apparatus – Drug availability in human body after infusion – Kinetic studies to monitor reaction speed and completion status

Chemical manufacturer – Raw material quality assurance as per specs – Quality control testing of tablets and syrups etc.

Kinetic Measurement (Biological Applications)

• Protein Analysis

• DNA and RNA analysis

• Fermentation

• Kinetics – monitor rate of reaction and enzymatic reaction – Draw samples from body fluids and monitor using UV spectrophotometer at some specific wavelength. – For comparison of results draw graphs between time and concentrations etc.

Ionization Constant

• For acid and bases

• End point determination – Dissociation of acid and bases leads to increase in concentration of specific moiety in the system, that can be quantitatively assessed using UV Spectrophotometer. – This may lead to conclusion that one specific substance is no more in the system, means end point of reaction or titration.

Stereochemical Study

• Symmetry of molecule – Stereochemical studies

• Hindered rotation in orthosubstituted biphenyls can be studied easily

• Cis-trans distinguish – Geometrical isomerism

cis-stilbene 283 nm, trans-Stilbene 295 nm

Academic and Government Application

• Environmental testing – contaminants in streams and water sources

• Medical testing

• Academic – students

- Types of chromatography

• Paper chromatography (1 and 2D)

•Thin layer chromatography

• Column chromatography

- Precipitation gravimetry,

The analyte is separated from a solution of the sample as a precipitate and is converted to a compound of known composition that can be weighed.

Volatilization gravimetry,

the analyte is separated from other constituents of a sample by conversion to a gas of known chemical composition. The weight of this gas then serves as a measure of the analyte concentration.

Electrogravimetry,

the analyte is separated by deposition on an electrode by an electrical current. The mass of this product then provides a measure of the analyte concentration.

- How to create histogram:

Histogram • When creating a histogram, “a range of data is divided into smaller sections having a uniform span and the number of data contained in each section (the number of occurrences) is counted to develop a frequency distribution table.” • Then, “a graph is formed from this table by using vertical bars, each having the height proportional to the number of occurrences in each section.” • Used to analyze a process to identify a problem point that needs to be improved by finding the location of the mean value or degree of variations in the graph.

- Error and its types:

An error is defined as: "The difference between the measured value and the actual value."

Types:

- Random error

- Systematic error

- Types of atomic emission spectroscopy:

Atomic Emission spectroscopic

• ICP OES, ICP MS

23. Characteristics of Adsorption

(i) Adsorption refers to the existence of a higher concentration of any particular component at the surface of a liquid or a solid phase.

(ii) Adsorption is accompanied by decrease in the (free energy change) of the system when , adsorption equilibrium is said to be established.

- Method error:

The second error type is method error. If your analytical method have some limitations then it may generate error. We have to segregate method error from human error

- Sample preparations

• Gross samples may be huge

• Crushing, grinding, sieving, mixing, and dividing the sample (often into halves) to reduce its mass

• Digestion and Extraction techniques

- Micro Bore Columns (MBC):

Columns with internal diameters of less than 2 mm are often referred to as MBC. Mobile phase consumption 1/20 compared to that in 4.6 mm diameter. Small injection volume required.

- Classification of Column Dimensions:

• Standard column: Diameter 4.6 mm, length 15 to 25 cm

• Micro Bore Columns (MBC): Columns with internal diameters of less than 2 mm are often referred to as MBC. Mobile phase consumption 1/20 compared to that in 4.6 mm diameter. Small injection volume required.

• Small Bore Column (SBC): Columns with internal diameter around 2.5 mm referred to as SBC. Mobile phase consumption 1/3 compared to that in 4.6 mm diameter.

• Fast-LC columns: These columns packed with 3m dia, column packing is just 5 cm long permit very fast analysis.

- How Analytical chemistry is used for the environmental analysis?

Environmental analysis is used for Monitoring and control of pollutants

- Sources of error

• Instrumental error

• Method error

• Human error

- Definition of terms:

• Sorbent: The solid phase use for extraction

• Matrix: Our sample

• Analyte: A compound or type of compounds

• Washing: The solvent used for washing out the interferences

• Elution solvent: The solvent use to elute out the analyte

30. Types of Chromatography

1. Adsorption

2. Partition

3. Ion-Exchange

4. Molecular Exclusion

5. Affinity

Adsorption Chromatography

• Adsorption chromatography is probably one of the oldest types of chromatography around. It utilizes a mobile liquid or gaseous phase that is adsorbed onto the surface of a stationary solid phase. The equilibration between the mobile and stationary phase accounts for the separation of different solutes.

Partition Chromatography

• This form of chromatography is based on a thin film formed on the surface of a solid support by a liquid stationary phase. Solute equilibrates between the mobile phase and the stationary liquid.

Ion Exchange Chromatography

• In this type of chromatography, the use of a resin (the stationary solid phase) is used to covalently attach anions or cations onto it. Solute ions of the opposite charge in the mobile liquid phase are attracted to the resin by electrostatic forces.

Molecular Exclusion Chromatography

• Also known as gel permeation or gel filtration, based on interaction between the stationary phase and solute. While passing through a porous gel molecules separate according to their sizes. The pores are normally small and allows smaller molecules to enter the gel. The larger molecules pass through the column at a faster rate.

Affinity Chromatography

• This is the most selective type of chromatography employed. It utilizes the specific interaction between one kind of solute molecule and a second molecule that is immobilized on a stationary phase. For example, the immobilized molecule may be an antibody to some specific protein. When solute containing a mixture of proteins are passed by this molecule, only the specific protein is reacted to this antibody, binding it to the stationary phase. This protein is later extracted by changing the ionic strength or pH.

- Properties of good precipitates

• Should be filtered and washed easily

• Very low solubility (no significant loss during filtration / washing)

• Unreactive with constituents of the atmosphere

• Chemical composition must be known, if necessarily ignited.

- Copolymeric sorbent:

• Hydrophobic & ionic retention mechanisms

• Reverse phase sorbent with cation or anion exchange

• Acidic, basic & neutral analyte applications

• Matrix - aqueous

• Elution solvents mixture of organics with acid or base

32. UV/Vis

Spectrophotometers Used in two

ways;

1.Determination of wavelength

maximum (wherewe have to scan END

full range spectrum).

2.To determine absorbance values at a

Particular wavelength.

33. Steps required in  gravimetric analysis:

• Drying or igniting

• Weighing

• Calculation

- Preparation of the  solution

• Precipitation

• Digestion

• Washing

• Filtration

34. Types of co-precipitation:

a) surface adsorption

b) mixed-crystal formation

c) Occlusion

d) mechanical entrapment

35. The mechanism that causes the stationary  phase to

retard the movement of  molecules:

1.Sieve mechanism separation  according  to size or

MW.  (molecular sieve = gel filtration = size  exclusion =

gel permeation).

2.Charge  interaction  separation based  on net charge.

3.Solubility characteristics separation  based on

polarity Hydrophobic chromatography, reverse-phase

chromatography, Adsorption or normal-phase

4.Biological or Specific interaction capture any

molecule that exhibit such  property

affinity chromatography, dye-chromatography

36.. IRSpectroscopy

•UVranges from190 to350 nm

•Visibleregion extended from350 (Violet) to 760 nm (Red)

•IR region is up to 1 mm wavelength of electromagnetic

Radiation.

IR Spectra: IR Spectra have three main features.

1.Position of peaks. 2.Strength of peaks 3.Width of peaks

In IR Spectra the C=O

shows most intense

peaks. Only OH peaks

appear as wide peaks

when OH involve in

hydrogen bonding. NH

appear as one peak

while NH2 as two

peaks.

Current papers:

Source of radiation in ir spectrometer:

The common IR radiation sources are inert solids that are heated electrically to promote thermal emission of radiation in the infraredregion of the electromagnetic spectrum.

Applications of ir spectroscopy:

Applications of IR Spectroscopy

1) Structure

Determination. Search for benzene ring presence. Search

or functional group regions (carbonyl, NH, OH, CO etc.).

Search for CH of different types 2) Identification of

compound: Matching given structure (metal complex

ormation). Matching of standard through finger print

egion. Differentiate if we have alcohol or ether.

3)Detection of impurities: Cyclohexanone is readily detectable

n cyclohexanol. Based on functional groups or finger print

egion.

4.Progress of reaction

• Oxidation of  secondary alcohol  to ketone

• Reduction of  alcohol to alkene

• Hydrolysis of  sugars

5. Presence of  composition of  mixture

• IR is a qualitative  technique

• In rare cases it may  be used as  quantitative e.g.

ortho, meta and para xylene

ICP (Inductively Coupled Plasma) Spectroscopy is an analytical method used to detect and measure elements to analyze chemical samples. The process is based on the ionization of a sample by an extremely hot plasma, usually made from argon gas.

Thin layer  Chromatography

Stationary Phase used:  adsorbent silica pasted  on glass or

aluminum  plates

Mobile Phase used:  usually organic  solvents (pure or

mixed  in variable ratios)

TLC plates are made of  glass or aluminum

Solvent equilibrate the  environment

May be placed with wall so  that it may not fall in the

chamber

Separations in TLC involve

distributing a mixture of

two or more substances

between a stationary phase

and a mobile phase.

The stationary phase is a

thin layer of adsorbent

(usually silica gel or

alumina) coated on a plate.

The mobile phase is a developing liquid which

travels up the stationary phase,

carrying the samples with it.

Components of the samples will separate on the

stationary phase according to “howmuch they adsorb

on the stationary phase versus how much they

dissolve in the mobile phase” (affinity).

What happen when two chromophores are located in same molecule?

If the two chromophores are located in a molecule next to each other, an influence on the position of the band and on the intensity of the absorption results. If the interaction is strong enough, the two chromophores have to be considered as one new chromophore.